## Rough-In
Room | Floor | System | KB code | Description | Qty | Unit $ | Total $ | Status
Great Room + Kitchen | F1 | data | 2010394 | Great-room media wall — dual-port CAT6 | 2 | 119 | 238 | add
Great Room + Kitchen | F1 | data | 2010394 | Ceiling AP, Floor 1 central — redundant pair | 2 | 119 | 238 | add
Bedroom 2 (Office) | F2 | data | 2010394 | Office desk wall — dual-port CAT6 | 2 | 119 | 238 | add
Primary Bedroom | F2 | data | 2010394 | Primary TV/desk wall | 1 | 119 | 119 | add
Loft | F2 | data | 2010394 | Loft media/console wall | 1 | 119 | 119 | add
Bedroom 3 (Guest) | F2 | data | 2010394 | Guest room desk/TV | 1 | 119 | 119 | add
F2 Landing | F2 | data | 2010394 | Ceiling AP, F2 landing — single | 1 | 119 | 119 | add
Front Porch / Entry | F1 | data | 2010394 | Video doorbell, front door frame | 1 | 119 | 119 | add
Garage | F1 | data | 2010394 | Garage wall (workbench) | 1 | 119 | 119 | add
Basement (Daniel) | BSMT | data | 2010394 | Basement media wall (Daniel) | 1 | 119 | 119 | add
Basement (Daniel) | BSMT | data | 2010394 | Ceiling AP, basement — redundant pair | 2 | 119 | 238 | add
Bedroom 2 (Office) | F2 | data | 2018557 | Conduit stub: closet head-end → attic (1¼″, pull string, incl. 2× 110V) | 1 | 279 | 279 | add
Primary Bedroom | F2 | power | 2010590 | Bedside outlets, one per side | 2 | 69 | 138 | add
Primary Bedroom | F2 | power | 2010590 | TV-height outlet, mount wall | 1 | 69 | 69 | add
Great Room + Kitchen | F1 | power | 2010590 | TV-height outlet, media wall | 1 | 69 | 69 | add
Loft | F2 | power | 2010590 | TV-height outlet, console wall | 1 | 69 | 69 | add
Bedroom 2 (Office) | F2 | power | 2010590 | Desk-wall outlets | 2 | 69 | 138 | add
Great Room + Kitchen | F1 | power | 2010590 | Outlet inside upper cabinet — under-cabinet tape feed | 1 | 69 | 69 | add
Great Room + Kitchen | F1 | power | 2010655 | Switch for under-cabinet tape circuit | 1 | 69 | 69 | add
Primary Bath | F2 | power | 2010591 | GFI at WC — washlet supply | 1 | 79 | 79 | add
Bedroom 2 (Office) | F2 | power | 2010596 | 20 A separate circuit — tech closet + office desk | 1 | 259 | 259 | add
Front Porch / Entry | F1 | power | 2010624 | Exterior GFI at front eave — holiday lighting | 1 | 209 | 209 | add
Front Porch / Entry | F1 | power | 2010655 | Interior switch for eave outlet | 1 | 69 | 69 | add
Primary Bedroom | F2 | light | 2010787 | Ceiling fan prewire w/ 2 switches | 1 | 209 | 209 | add
Loft | F2 | light | 2010787 | Ceiling fan prewire w/ 2 switches | 1 | 209 | 209 | add
Bedroom 3 (Guest) | F2 | light | 2010787 | Ceiling fan prewire w/ 2 switches — guest room | 1 | 209 | 209 | add
Bedroom 2 (Office) | F2 | light | 2022284 | Geary two-light flush mount — ceiling-box carrier | 1 | 169 | 169 | add
Primary Bedroom | F2 | light | 2010655 | Additional switch — accent-layer separation | 1 | 69 | 69 | add
Loft | F2 | light | 2010655 | Additional switch — accent-layer separation | 1 | 69 | 69 | add
Bedroom 2 (Office) | F2 | data | 2018557 | ASK: second conduit, closet → basement ceiling void | 1 |  | 0 | verify
Bedroom 2 (Office) | F2 | data | — | Fibre service entry → path/conduit to Bed-2 closet; ONT placed in closet (or Ethernet handoff from entry point) | 1 |  | 0 | verify
Bedroom 2 (Office) | F2 | data | — | Confirm: all 15 drops terminate in Bed-2 closet; if enclosure relocation is refused, name the per-plan enclosure location | 1 |  | 0 | verify
Front Porch / Entry | F1 | data | — | Confirm exterior CAT6 placement at door frame + drops tested/certified with results | 1 |  | 0 | verify
Great Room + Kitchen | F1 | light | — | In-ceiling speaker pre-wire (great room) — ask if offered | 1 |  | 0 | verify
Primary Bedroom | F2 | light | — | In-ceiling speaker pre-wire (primary) — ask if offered | 1 |  | 0 | verify
Loft | F2 | light | — | In-ceiling speaker pre-wire (loft) — ask if offered | 1 |  | 0 | verify
Laundry | F1 | power | — | Confirm neutral at every switch box + HVAC C-wire/zoning provisioning | 1 |  | 0 | verify
|  |  |  | KB ORDER TOTAL |  |  | 4235

## Register
Casa Dos Hermanos — Master Room Register v2.1 · 13 Jul 2026 · head-end: Bed-2 (office) closet · EV excluded
Floor | Room | Occupancy | CAT6 drops | Power adds | Lighting adds | Rough-in $ (adds) | Notes
F1 | Garage | Shared | 1 |  |  | 119 | 1 CAT6 (workbench). EV outlet deliberately excluded.
F1 | Front Porch / Entry | Shared | 1 | 2 |  | 397 | Doorbell CAT6; eave GFI + switch
F1 | Great Room + Kitchen | Shared | 4 | 3 |  | 683 | Media wall dual CAT6 + F1 AP pair; UC-tape feed outlet+switch
F1 | Laundry | Shared |  |  |  | 0
F1 | Pantry | Shared |  |  |  | 0
F1 | Coats | Shared |  |  |  | 0
F1 | Powder | Shared |  |  |  | 0
F2 | Primary Bedroom | Salieri | 1 | 3 | 2 | 604 | Fan prewire + extra switch; bedside pair; TV outlet
F2 | Primary Bath | Salieri |  | 1 |  | 79 | GFI at WC (washlet)
F2 | Pwic | Shared |  |  |  | 0
F2 | Bedroom 2 (Office) | Salieri | 3 | 3 | 1 | 1083 | TECH CLOSET: head-end, 20A circuit, attic conduit stub; dual CAT6 + desk outlets; Geary as box carrier
F2 | Bedroom 3 (Guest) | Parents (guest) | 1 |  | 1 | 328 | Fan prewire; 1 drop (insurance tier)
F2 | Bath2 | Shared |  |  |  | 0
F2 | Loft | Shared | 1 | 1 | 2 | 466 | Fan prewire + extra switch; media drop; TV outlet
F2 | F2 Landing | Shared | 1 |  |  | 119 | F2 landing AP — single, attic-retrofittable
BSMT | Basement (Daniel) | Daniel | 3 |  |  | 357 | Daniel: media + AP pair (ceiling gets drywalled)
BSMT | Bupper | Shared |  |  |  | 0
| TOTAL |  |  |  |  | 4235

## Method
Register v2.1 — provenance & use
• Single source: cdh_roughin_v2.json drives this file, plan_roughin_v6.html, network.html rev2 and the Selection Schedule.
• v2 changes: head-end relocated garage → Bed-2 closet; 20A circuit moved to closet (serves office too); EV outlet removed; basement conduit demoted to ASK; fibre-entry path is now KB question #1.
• Quantities = ADDS above KB base spec. Blue cells editable; totals recalc. 'verify' rows are uncosted questions.
• Areas intentionally omitted — they live in 2088_authoritative_dims_v2.json / Plan2088_Room_Schedule.xlsx.